Park1_Ignitis Renewables

The goal of this task is to evaluate your ability to work with real operational data, perform analytical checks, identify anomalies, and communicate your findings clearly. You will be working with a dataset extracted from one of our shunt reactor systems.

You are provided with a dataset containing operational measurements from a high‑voltage shunt reactor. Your task is to:

Explore and understand the data:

- Perform data quality checks.

- Detect missing, corrupted, or inconsistent values.

- Identify outliers and abnormal patterns.

Analyze reactor behavior

- Evaluate how the shunt reactor operates over the provided time period.

- Identify periods of unusual behavior.

- Explain what these behaviors might indicate from an electrical/operational perspective.

Note this specific system's design specifications are: 30kV±10%, 125.1A±10%.

Visualize key insights

- Create plots or visual summaries that help communicate your findings.

You may choose the visualization methods that best support your conclusions.

Deliver a short summary report

- Provide a concise written summary (approx. 1–2 pages).

- Include key findings, identified issues, and any questions or assumptions you had to make.

- Suggest what additional data or monitoring would help in diagnosing the reactor’s condition.